## Node Faults
Faulty Module | Typical Fault | Service Impact | Fault Handling Rule
Power supply to the NPU board or mainboard | Power failure | Node heartbeat loss and service interruption | Job rescheduling is triggered
Memory | Kernel-mode UCE causes the system to reset abnormally. User-mode UCE causes the service process to be killed. | Potential node heartbeat loss and service interruption | If a service is detected, reschedule the job after the service is damaged. If no service is detected, isolate the faulty node.
CPU | Uncorrectable errors in the CPU core, cache, HHA, and DDRC modules | Potential data errors/running exceptions, node heartbeat loss, or service interruption | If a service is detected, reschedule the job after the service is damaged. If no service is detected, isolate the faulty node.

## Chip Faults
Faulty Module | Typical Fault | Service Impact | Fault Handling Rule
HBM multi-bit ECC error | Normal NPU (online isolation) | Service interruption | Job re-execution
Reach of 64 HBM multi-bit ECC isolation addresses | Unhealthy NPU | Service interruption | Job rescheduling is triggered
PCIe error | Unhealthy NPU | Service interruption | Chip reset
Inter-board heartbeat error (a fatal error on the NPU) | NPU suspension | Service interruption | Chip reset
PCIe link disconnection (The device cannot be viewed by lspci.) | NPU disconnection | Service interruption | Chip reset
tsdaemon heartbeat error | Normal NPU (software self-healing) | Service interruption | Job re-execution
Small core heartbeat error | Unhealthy NPU | Service interruption | Chip reset
Memory exhaustion | NPU suspension | Service interruption | Chip reset

## Parameter Plane Network Faults
Faulty Module | Typical Fault | Service Impact | Fault Handling Rule
The link between the NPU and switch is disconnected and cannot be restored. | NPU network port fault, switch port fault, optical module fault, and cable fault | Service interruption | Job rescheduling is triggered
Transmission retry timeout due to long-time linkdown between the NPU and switch | Optical module fault and cable fault | Service interruption | Job rescheduling is triggered

## Service Plane Faults
Faulty Module | Typical Fault | Service Impact | Fault Handling Rule
Software Fault | Operator execution failure | Service interruption | Job rescheduling is triggered

## Public Faults
Fault Code | Typical Fault | Faulty Module | Service Impact | Fault Handling Rule
010001001 | Optical link contamination (processor fault) | The end face of the optical module on the NPU is contaminated. | Service interruption | Rectify the fault according to the sub-health handling suggestions.
210001007 | Optical link contamination (network fault) | The end face of the optical module on the switch is contaminated. | Service interruption | Rectify the fault according to the sub-health handling suggestions.
220001001 | NPU HCCS network fault |  | Service interruption | Chip isolation
010001004 | Losse optical link loose (processor fault) | The optical module link on the NPU is loose. | Service interruption | Rectify the fault according to the sub-health handling suggestions.
210001008 | Losse optical link (network fault) | The optical module link on the switch is loose. | Service interruption | Rectify the fault according to the sub-health handling suggestions.
310001005 | DPC client failure | The DPC client process is abnormal. | Service interruption | Rectify the fault according to the sub-health handling suggestions.
200001006 | Suspected Optical Link Subhealth | The optical link on the switch is subhealthy. | Services are interrupted in severe cases. | No action
210001009 | Optical module subhealth | The optical module is subhealthy. | Service interruption | Rectify the fault according to the sub-health handling suggestions.
220001002 | In the backup SuperPoD scenario, the backup subrack resources that do not exist are used for scheduling. | NetMind does not detect the selected backup subrack resources. | Service interruption | Chip isolation
220001003 | Backup subrack resource port fault | Backup subrack resource port exception | Service interruption | Chip isolation
220001004 | Backup subrack job ID conflict | NetMind detects that the current subrack is occupied by another job. | Service interruption | Chip isolation
220001005 | Invalid NetMind | The NetMind client process is abnormal. | Service interruption | Chip isolation
220001006 | Some ports on the link of the backup subrack are partially invalid. | Some ports on the link of the backup subrack are subhealthy. | Service interruption | Chip isolation
220001007 | Optical link adjustment failure | Optical module fault | Service interruption | Chip isolation
110001020 | The shared storage DPC process is abnormal. | Shared storage DPC process | Service interruption | Rectify the fault according to the sub-health handling suggestions.
110001021 | Insufficient shared storage DPC memory | Shared storage DPC process | Service interruption | Rectify the fault according to the sub-health handling suggestions.
200001010 | Slow network connection/recovery in a node (slow network fault) |  | Service interruption | No action
200001011 | Slow network connection/recovery in a SuperPoD (slow network fault) |  | Service interruption | No action
200001012 | Not converged to the card (slow network fault) |  | Service interruption | No action
110001010 | Slow node fault |  | Service interruption | Rectify the fault according to the sub-health handling suggestions.
100001011 | Deterioration recovered (slow node fault) |  | Service interruption | Rectify the fault according to the sub-health handling suggestions.
110001020 | The shared storage DPC process is abnormal. |  | Service interruption | Rectify the fault according to the sub-health handling suggestions.
110001021 | Insufficient shared storage DPC memory |  | Service interruption | Rectify the fault according to the sub-health handling suggestions.